HX,Kendall,Andreas, Isabelle, Eugene

Project: Anschutz (95 sensors)

Subject: Kendall

Subject ID: AS13

Hearing threshold 250 Hz: 58 dB

Hearing threshold 1000 Hz: 58 dB

Hearing threshold 4000 Hz: 58 dB

Sensor 05:11 has an issue

Empty room recording

Bode Response recording

DC fields recording

Median Nerve paradigm (6 min)

Right hand

Trigger channel: 01:00

Multimodal paradigm  (10 min)

Median nerve on right hand only

Trigger channel 01:00 (BIT 5) - somatosensory

Trigger channel 03:00 (BIT 1)

Trigger channel 04:00 (BIT 2)

Trigger channel 05:00 (BIT 3)

1.	
      Upper right visual: 1 (BNC1=chassis3)

2.	
      Lower right visual: 2 (BNC2=chassis4)

3.	
      Lower left visual: 3 ((BNC1=chassis3 + BNC2=chassis4)

4.	
      Upper left visual: 4 (BNC3=chassis5)

5.	
      Auditory right: 5 (BNC1=chassis3 + BNC3=chassis5)

6.	
      Auditory left: 6 (BNC3=chassis5 + BNC2=chassis4)

7.	
      Somato right: 16 BNC5 = chassis2 and Digitimer trigger channel

Visual paradigm Upper left (5 min)

Trigger channel 03:00 (BIT 1)

Visual paradigm Upper right (5 min)

Trigger channel 03:00 (BIT 1)

Visual paradigm Lower left (5 min)

Trigger channel 03:00 (BIT 1)

Visual paradigm Lower right (5 min)

Trigger channel 03:00 (BIT 1)

Resting eyed open paradigm (5 min)

Entrainment  paradigm no tap (6 min)

Trigger channel 03:00 (BIT 1)  - auditory

Entrainment  paradigm yes tap (6 min)

Trigger channel 03:00 (BIT 1) - auditory

Trigger channel 01:00 - response

Entrainment  paradigm self-paced (6 min)

Trigger channel 03:00 (BIT 1) - auditory

Trigger channel 01:00  - response

Trigger channel 05:00 (BIT 3) - stop beat

HPI coils

Energize with 0.5 Vpp and 0.05 Vpp

43 Hz sine wave

Coil 1 = LPA

Coil 2 = RPA

Coil 3 = Nation (coil is on forehead under sensor hole 1

Coil 4 = Cz under sensor hole 2

Coil 5 = Inion under sensor hole 62, but could not reach it

Polhemus

First scan is to reference helmet to HPI coils

Fiducials

L, R, N, C, I

Coil 1 = LPA

Coil 2 = RPA

Coil 3 = Nation (coil is on forehead under sensor hole 1

Coil 4 = Cz under sensor hole 3

Coil 5 = Inion under sensor hole 62, but could not reach it

OPM 1 = Point 3 (LPA)

OPM 2 = Point 4 (RPA)

OPM 3 = Point 1 (NASION)

OPM 4 = Point 2 (CZ)

OPM 5 = Point 5 (INION)

Point 1 (1)

“NASION”

Point 2 (3)

“CZ”

Point 3 (16)

“LPA”

Point 4 (72)

“RPA”

Point 5 (62)

“INION”

X

-9.078 mm

40.026 mm

88.445 mm

-88.445 mm

-40.046 mm

Y

-153.021 mm

-144.143 mm

-96.023 mm

-96.023 mm

-144.133 mm

Z

-10.053 mm

-3.554 mm

-29.009 mm

-29.009 mm

-3.567 mm

Second scan is taking HPI, fiducials, and head shape

Redo all of it in 4D system

In Multimodal Upper left and lower right are flipped